Commercial Property Submittal for Permit

The application for permit shall be filed on-line (permits.ri.us) accompanied by one (1) pdf plan set to be uploaded to the on-line application, and one (1) hard copy provided to the Building Department, calculations and specifications bearing the wet signature and seal of a Rhode Island registered Architect and/or Engineer responsible for the designs of the proposed building, structure, mechanical, plumbing and electrical.  Said plans and specifications shall have prior approval in accordance with the Fire Safety Code.  For new buildings/construction only, a survey/site plan shall be submitted and uploaded in pdf format to the on-line application, for approval by other City departments.

To provide rapid and accurate review of the building plans, the following information shall be submitted as one package.

- Architectural, structural

- Mechanical, plumbing, electrical plans (waiver of plan examination, section 23-27.3-128.5.1, may be required)

- Demolition plans (if applicable)

- Specifications

- Structural calculations

- Soil investigation report

- Energy calculations

- Project certification (section 23-27.3-128); the Building Official may require the owner to retain the services of an architect or engineer.

- Special Inspections

To avoid any delays be sure all necessary information is included in you submittal.  The following list is a basic outline that shall be included.

- Edition of Building, Mechanical, Pluming and Electrical and Fire Codes used.

- Existing and proposed

- Use Group Classification

- Type of Construction Classification

- Building Limitations

- Occupant Load

- Length of Travel; permitted and provided

- Required and Provided

- Capacity of Egress Components

- Number of Exits

- Minimum Plumbing Facilities

- Water Closet, Lavatory

- Service Sink

- Drinking Fountain

- Complete building plans showing use of all areas.

- All appropriate wall, floor and foundation sections.

- Complete door schedule

- Complete window and glazing schedule

- Complete interior finish with flame spread ratings.

- List of all rated assemblies (include detail and UL design #).

- Details showing all handicapped requirements.

- Occupant load of all areas.

- List all design live loads.

- Statement indicating approved sprinkler plans and calculations will be submitted.

- The site plan shall include accessibility for individuals with disabilities (i.e. accessible route, parking and signage).

The Building Official may waive these requirements when the nature and character of the work to be performed is of a minor nature.  To qualify for this, a detailed description of the work addressing all areas shall be submitted for review.  Plans may be included to assist the official in his decision.