BUILDING PERMIT CHECKLIST

FOR

NEW RESIDENTIAL STRUCTURES AND ADDITIONS

_____	Completed Application: Incomplete application can delay issuance of your permit.

_____	Site Plan:

_____	Drawn To Scale: 1” = 10’ or 1” = 20’ recommended

_____	Dimensions of subject property including all property lines and total area.

_____	Identify streets

_____	Setbacks from all property lines for all existing and proposed structures including

additions and accessory structures.

_____	Location of driveway

_____	Location of wetlands, watercourses or coastal features

_____	A Class I survey by a registered land surveyor may be required

_____	CRMC Jurisdictional Determination for presence of Freshwater Wetlands (250 square feet and larger on-ground structures).

_____	Construction plans and documents:

_____	Footing and foundation plan

_____	Floor plans—include key structural elements

_____	Front elevation

_____	Rear elevation

_____    Side elevations

_____    Cross Section(s)

_____    Framing plans…may be required when specific conditions of design requires

_____	Manufactured lumber (TJI’s, LVL’s): see your supplier/manufacturer for design

reports.  Larger projects will require a layout plan; beam, header and joist design report number shall correspond with layout plan number.

_____  	Truss drawings with engineer stamp and layout plan from manufacturer

_____	Window and door schedule; include manufacturer, U-Factor and Design Pressure rating (See your supplier/ manufacturer)

_____	Energy Conservation (N1101): provide window area percentage of exterior wall area (window/wall ratio)

_____	Architect and/or engineer may be required

_____	Does footprint of plans match site plan i.e. __overhangs, __decks, __porches, __location

of garage etc.

_____	Single line drawings will not be accepted

_____	Completeness and Clarity of Plans

_____	No tape, no red ink, no pencil

_____	Dimensions:

_____	Drawn to scale: ¼” = 1’ recommended

_____	Flood Zone:

_____   AE: Elevation of lowest floor and next floor above (in relation to mean sea level).

_____   VE: Elevation of lowest horizontal structural member (in relation to mean sea

level).  Architect and/or engineer required for design.

_____   Elevation of existing and proposed grade (in relation to mean sea level).

_____   Addition/Reconstruction:  Substantial Improvement: equals or exceeds 50% of the structure

_____	Wind Load Design (zone 2):

_____    Architects design and/or copy of Appendix M from code

_____   Contractors/Owners Responsibilities Form: